| FINAL JOINT INSPECTION REPORT (EXTERNAL PIPELINE) (Valid for six (6) months prior taking over date) | Form QT6(a) |
| --- | --- |
|  | Page 1 of 3 |

| Name of Development | : |  |
| --- | --- | --- |
|  | : |  |
|  | : |  |
| Project Reference No. | : |  |
| Approval Plan No. | : |  |
|  |  | (Attach approved plan and as-built plan of pipeline) |
| Date of Inspection | : |  |
| Phase/ Name of Location pipeline checked | : |  |

| Work Discription | Remarks |
| --- | --- |
| A) Pipelines | Type of pipe | Diameter (mm) | Lenght (m) | Satisfactory | Unsatisfactory | Comments |
|  |  |  |  | (tick relevan column) |  |
| Main pipes |  |  |  |  |  |  |
| Communication pipes |  |  |  |  |  |  |
|  | Type | Nos | Size (mm) |  |  |  |
| Sluice valves |  |  |  |  |  |  |
| Butterfly valves |  |  |  |  |  |  |
| Air valves |  |  |  |  |  |  |
| Scour valves |  |  |  |  |  |  |
| Hydrants |  |  |  |  |  |  |
| Valve chambers |  |  |  |  |  |  |
| Pipe markers |  |  |  |  |  |  |
| Pressure reducing valves |  |  |  |  |  |  |
| Sampling points |  |  |  |  |  |  |
| Zone meters |  |  |  |  |  |  |
| Over crossing with/ without supports/ spike guards |  |  |  |  |  |  |
| Constant Flow Valve (calibrated) |  |  |  |  |  |  |
| Pipes laid within public road reserve or pipeline reserve |  |  |  |
| Other items : |  |  |  |  |  |  |
| B) Individual Meter Stand | Details | Satisfactory | Unsatisfactory | Comments |
|  |  | (tick relevan column) |  |
| Material type |  |  |  |  |
| Meter size ( mm ) |  |  |  |  |
| Minimum height (mm). 450mm (± 50mm) between mid-centre of meter to ground. |  |  |  |  |
| Un-obstructive position for meter reading and meter maintenance. |  |  |  |
| Meter short piece length: | 5D = |  |  |  |  |
|  | 3D = |  |  |  |  |

| FINAL JOINT INSPECTION REPORT (EXTERNAL PIPELINE) (Valid for six (6) months prior taking over date) | Form QT6(a) |
| --- | --- |
|  | Page 2 of 3 |

| Project Reference No. | : |  |
| --- | --- | --- |
| Date of Inspection | : |  |

| C) Multimeter Stand | Details | Satisfactory | Unsatisfactory | Comments |
| --- | --- | --- | --- | --- |
|  |  | (tick relevan column) |  |
| Material type |  |  |  |  |
| Meter size ( mm ) |  |  |  |  |
| Minimum height (mm)* Between mid-centre of specials to floor slab. |  |  |  |  |
| Un-obstructive position for meter reading and meter maintenance. |  |  |  |
| Minimum dist. between meter (mm) Between mid-centre of meters.* |  |  |  |  |
| Meter short piece length: | 5D = |  |  |  |  |
|  | 3D = |  |  |  |  |
| D) Domestic Bulk Meter Stand | Details | Satisfactory | Unsatisfactory | Comments |
|  |  | (tick relevan column) |  |
| Material type |  |  |  |  |
| Meter size ( mm ) |  |  |  |  |
| Minimum height (mm)* Between mid-centre of specials to floor slab. |  |  |  |  |
| Un-obstructive position for meter reading and meter maintenance. |  |  |  |
| Minimum dist. between meter (mm) Between mid-centre of meters.* |  |  |  |  |
| Meter short piece length: | 6D = |  |  |  |  |
|  | 3D = |  |  |  |  |
| 7. Concrete slab |  |  |  |  |  |
| E) Bulk Meter Stand for Hydrant | Details | Satisfactory | Unsatisfactory | Comments |
|  |  | (tick relevan column) |  |
| Material |  |  |  |  |
| Meter size ( mm ) |  |  |  |  |
| Minimum height (mm)* Between mid-centre of specials to floor slab. |  |  |  |  |
| Un-obstructive position for meter reading and meter maintenance. |  |  |  |
| Minimum dist. between meter (mm) Between mid-centre of meters.* |  |  |  |  |
| Meter short piece length (mm) | 6D = |  |  |  |  |
|  | 3D = |  |  |  |  |
| Concrete slab |  |  |  |
| F) Others (Specify) | Details | Satisfactory | Unsatisfactory | Comments |
|  |  | (tick relevan column) |  |
| 1. |  |  |  |  |

*Shall refer to appproved standard drawings

| FINAL JOINT INSPECTION REPORT (EXTERNAL PIPELINE) (Valid for six (6) months prior taking over date) | Form QT6(a) |
| --- | --- |
|  | Page 3 of 3 |

| Project Reference No. | : |  |
| --- | --- | --- |

| Checked By |  |  |
| --- | --- | --- |
| Name | : |  |
| Firm CP Registration No | : : |  |
| NRIC. No. | : |  |
| Date : | Signature of Competent Person |
| 1. Witnessed By |  |  |
| Name | : |  |
| Staff No | : |  |
|  | Signature of AIR SELANGOR; Regional Development Unit |

Date                           :

| 2. Witnessed By |  |  |
| --- | --- | --- |
| Name | : |  |
| Staff No | : |  |
|  | Signature of SYABAS; (<50,000LPD) Head, Regional Development Unit/ (≥50,000LPD) Head, of Take Over Unit (HQ) |

Date                           :